## Introduction -->
This page has been left intentionally blank. The tab is meant for navigation purpose.

## Overview
Methane emissions from the sanitation value chain in Sub-Saharan Africa (2020 optimistic case)
Objective: | To calculate an optimistic value for methane emissions from sanitation systems in urban Sub-Saharan Africa (excluding South Africa) for the year 2020.
Description: | This Excel calculates an optimistic value for methane emissions across different stages of the sanitation systems in urban Sub-Saharan Africa (excluding South Africa) for 2020. Two values for emissions in 2020 were developed; a pessimistic and an optimistic value to get a higher and a lower end of total methane emissions, respectively. This was done to deal with uncertainties in the values required for some variables, which include: - Lack of consensus in literature and among experts regarding values for certain variables. - Lack of data availability for some demographic variables that were critical to estimate the population split across different containment facilities in urban Sub-Saharan Africa. The value for the optimistic case was calculated by assuming that the sanitation systems in Sub-Saharan Africa promote a lower degree of anaerobic decomposition due to a lower prevalence of unlined dry pit latrines than in the pessimistic case. It also assumes lower values for variables that lacked consensus in literature and among experts, such as total organic matter requiring decomposition and emission factor of unsafe discharge, both of which drive anaerobic decomposition of waste, thus, increasing emissions.
Geography: | The model estimates methane emissions from sanitation systems in urban Sub-Saharan Africa (excluding South Africa). The model selected 24 countries for which recent data for the population split across different containment facilities was available. It assumed that the selected 24 countries are representative of urban Sub-Saharan Africa (excluding South Africa), as these countries collectively made up ~79% of the region’s urban population in 2020.
Legend for cells and sheets: | Input data: Values that serve as input in the calculation sheets
Calculations: Calculations using data from input sheets
Final calculations: Final results in each calculation/ output sheet
Irrelevant: Contains no calculations or information relevant to the calculations of the model
Note: These legend only apply for outputs, calculations, and inputs sheets. They do not apply to the backup sheets.

## Sheet descriptions
Description of sheets within the model
Type of sheet | Sheet name | Description
Outputs | Output | Contains total and per capita emissions from sources across different sanitation systems in urban SSA and key inputs to calculate these emissions
Calculations | Unemptied FS | Calculates the total emissions from all unemptied non-sewered containment facilities, including a break-up of emissions from each type of non-sewered containment facility
| Emptied FS_treatment | Calculates the total emissions from the treatment of emptied fecal sludge, including a break-up of emissions from each stage of the treatment process
| WW_treatment | Calculates the total emissions from the treatment of wastewater, including a break-up of emissions from each stage of the treatment process
| Unsafe discharge | Calculates the total emissions from the unsafe discharge of emptied fecal sludge and wastewater
| OD | Calculates the total emissions from open defecation
Inputs | SSA population data | Contains the population split across different sanitation systems and containment facilities in urban SSA, and the proportion of fecal sludge and wastewater treated from non-sewered and sewered systems; it also includes the conversion factor for the global warming potential of methane
| Unemptied FS data | Contains the values for the calculation of emissions from unemptied non-sewered containment facilities, including MCFs of various facilities and organic content of the fecal sludge
| Emptied FS data | Contains the values for the calculation of emissions from the treatment of emptied fecal sludge, including MCFs, treatment efficiency (COD reduction) of each stage in the treatment process, and other treatment-specific variables
| WW treatment data | Contains the values for the calculation of emissions from the treatment of wastewater, including MCFs, treatment efficiency (COD reduction) of each stage in the treatment process, and other treatment technology-specific variables
| Unsafe discharge data | Contains the values for the calculation of emissions from the unsafe discharge of emptied fecal sludge and wastewater, including MCFs of the discharge pathway
| OD data | Contains the values for the calculation of emissions from open defecation, including the MCF associated with open defecation
Backup | Urban population | Calculates the urban population in SSA (excluding South Africa) in 2020
| DHS household data | Contains data from DHS datasets on urban population split across containment facilities for all 24 SSA countries selected to calculate emissions in urban SSA (excluding South Africa)
| Country-wise category 1 | Contains data on urban population split across containment facilities re-categorized from DHS datasets for this model
| Country-wise GWT data | Contains data on the GWT levels in each of the SSA countries selected to estimate emissions in urban SSA (excluding South Africa)
| Country-wise category 2 | Contains data on urban population split across containment facilities, re-categorized to include the effect of GWT on containment facilities
| Assumptions for pit lining | Contains assumptions used to calculate the split of the population between unlined and lined dry pit latrines
| SSA containment split | Contains the final population split of urban SSA (excluding South Africa) across different containment facilities, including the re-categorization to include dry pit latrines with lined and unlined pits

## Acronyms
List of acronyms
Acronyms | Full form
BOD | Biological Oxygen Demand
CH4 | Methane
CO2e | Carbon Dioxide equivalent
COD | Chemical Oxygen Demand
DHS | Demographic and Health Surveys
EF | Emission Factor
EPA | United States Environment Protection Agency
FS | Fecal Sludge
FSTP | Fecal Sludge Treatment Plant
GWT | Groundwater Table
IPCC | Intergovernmental Panel on Climate Change
MCF | Methane Correction Factor
OD | Open Defecation
SSA | Sub-Saharan Africa
TOW | Total Organic Waste
VIP | Ventilated Improved Pit
WW | Wastewater
WWTP | Wastewater Treatment Plant

## Outputs -->
This page has been left intentionally blank. The tab is meant for navigation purpose.

## Output
Output - 2020 methane emissions (optimistic case)
Please refer to overview sheet for colour coding of cells
| Key inputs |  |  |  |  | Key outputs
|  |  | Heading |  | Data | Total CH4 emissions by source of emissions
| Key inputs for population split by sanitation systems | Population split by sanitation systems | Sewered |  | 5.63% | Source |  | CH4 emissions (tCo2e per year) | CH4 emissions (% of total) | Per capita CH4 emissions (tCo2e per year)
|  |  | Non-sewered |  | 93.27% | Non-sewered sanitation | Containment | 19716438.8512 | 72.76% | 0.064671
|  |  | Open defecation |  | 1.098% |  | Treatment | 3541139.4789 | 13.07% | 0.1568
[7 empty] | Unsafe discharge | 1904104.3287 | 7.026% | 0.02409
|  |  | Heading |  | Data | Sewered sanitation | Treatment | 1477862.4672 | 5.453% | 0.1807
| Key inputs for sewered sanitation systems | Treatment coverage for sewered sanitation systems | % of population with sewered sanitation facilities and whose sludge is treated at WWTP |  | 33.33% |  | Unsafe discharge | 344782.5594 | 1.272% | 0.021079
|  |  | % of population with sewered sanitation facilities and whose sludge is unsafely discharged |  | 66.67% | Open defecation |  | 115261.2086 | 0.4253% | 0.02409
|  | Treatment technology used at each stage of WWTP | Stage 1 |  | Anaerobic ponds | Total emissions |  | 27099588.894 | 100% | 0.062181
|  |  | Stage 2 |  | Facultative ponds
|  |  | Stage 3 |  | Drying beds | CH4 emissions from non-sewered sanitation by containment facility
[6 empty] | Containment facility | Sub-category | CH4 emissions (tCo2e per year) | CH4 emissions (% of total from unemptied) | Per capita emissions (tCO2e per year)
|  |  | Heading | Sub-heading | Data | Wet pit latrines | Shared | 2363429.1589 | 11.99% | 0.10731
| Key inputs for non-sewered sanitation systems | Proportion of fecal sludge emptied from non-sewered containment facilities | % of population with non-sewered sanitation facilities whose sludge is emptied |  | 25% |  | Individual | 1792182.5099 | 9.09% | 0.10731
|  |  | % of population with non-sewered sanitation facilities whose sludge not emptied |  | 75% | Dry pit latrines | Shared, unlined, below GWT | 1524721.3375 | 7.733% | 0.10731
|  | Proportion of fecal sludge treated from emptied non-sewered containment facilities | % of population with emptied non-sewered sanitation facilities whose sludge is treated at FSTP |  | 22.22% |  | Individual, unlined, below GWT | 1262455.1724 | 6.403% | 0.10731
|  |  | % of population with emptied non-sewered facilities whose sludge is unsafely discharged |  | 77.78% |  | Shared, unlined, above GWT | 2274642.4199 | 11.54% | 0.06132
|  | Population split by users of unemptied non-sewered containment facilities | Wet pit latrines | Shared | 7.224% |  | Individual, unlined, above GWT | 457713.7465 | 2.321% | 0.01533
|  |  |  | Individual | 5.478% |  | Shared, lined | 3491812.0295 | 17.71% | 0.06132
|  |  | Dry pit latrines | Shared, unlined, below GWT | 4.66% |  | Individual, lined | 590824.8602 | 2.997% | 0.01533
|  |  |  | Individual, unlined, below GWT | 3.859% | Septic tanks | Shared | 2230402.6877 | 11.31% | 0.07665
|  |  |  | Shared, unlined, above GWT | 12.17% |  | Individual | 3728254.9288 | 18.91% | 0.07665
|  |  |  | Individual, unlined, above GWT | 9.793% | Total emissions |  | 19716438.8512 | 100% | 0.064671
|  |  |  | Shared, lined | 18.68%
|  |  |  | Individual, lined | 12.64%
|  |  | Septic tanks | Shared | 9.544%
|  |  |  | Individual | 15.95%
|  | Treatment technology used at each stage of FSTP | Stage 1 |  | Thickening tanks
|  |  | Stage 2 |  | Drying beds
|  |  | Stage 3 |  | FS storage

## Calculations -->
This page has been left intentionally blank. The tab is meant for navigation purpose.

## Unemptied FS
Calculation of emissions from unemptied non-sewered containment facilities
Please refer to overview sheet for colour coding of cells
|  | Heading | [6 empty] | Values | Explanation
| Total emissions from unemptied non-sewered containment facilities | CH4 emissions (kgCH4/ year) | [6 empty] | 788657554.0496 | Sum of methane emissions across all the unemptied non-sewered containment facilities
|  | CO2e emissions (kgCO2e/ year) | [6 empty] | 19716438851.24 | Sum of methane emissions across all the unemptied non-sewered containment facilities, expressed in terms of its global warming potential
Emissions from each unemptied non-sewered containment facility
| Overall assumption | The split of the population across unemptied non-sewered containment facilities is the same as the split across all non-sewered containment facilities as per 'SSA population data'
| Wet pit latrines | Heading |  |  |  |  | Values by sub-category |  | Total | Calculation description | Explanation
[7 empty] | Shared | Individual
|  | Population using the facility |  |  |  |  | 22024314.2197 | 16700983.2249 | 38725297.4446 | Total population of SSA x % of population using non-sewered sanitation facilities x % of population with unemptied non-sewered containment facilities x % of population using wet pit latrines | Total population in SSA that use wet pit latrines
|  | Emission factor (EF) (kgCH4/ kg COD) |  |  |  |  | 0.175 | 0.175 |  | Bo x MCF of the wet pit latrines | Emission factor from a single person's use of a wet pit latrine, given the maximum methane production capacity of the sludge and the level to which wet pit latrines allow for aerobic decomposition
|  | Net COD requirement (kg COD/ cap/ year) |  |  |  |  | 24.528 | 24.528 |  | COD x Percentage reduction of COD | Total organic matter in each person’s fecal sludge requiring decomposition
|  | CH4 emissions (kgCH4/ year) |  |  |  |  | 94537166.3567 | 71687300.3944 | 166224466.7511 | Population using the facility x Emission Factor x Net COD requirement | The total CH4 emissions from wet pit latrines in SSA
|  | CO2e emissions (kgCO2e/ year) |  |  |  |  | 2363429158.9176 | 1792182509.8605 | 4155611668.7781 | CH4 emissions x Global warming potential of methane | The global warming potential (CO2e) of the CH4 emissions from wet pit latrines
| Dry pit latrines | Heading | Values by sub-category | [5 empty] | Total | Calculation description | Explanation
|  |  | Shared, unlined, below GWT | Individual, unlined, below GWT | Shared, unlined, above GWT | Individual, unlined, above GWT | Shared, lined | Individual, lined
|  | Population using the facility | 14208567.1184 | 11764562.2254 | 37094625.2437 | 29857387.2505 | 56944097.023 | 38540434.4533 | 188409673.3143 | Total population of SSA x % of population using non-sewered containment facilities x % of population with unemptied non-sewered containment facilities x % of population using each type of dry pit latrine | Total population in SSA that use dry pit latrines
|  | Emission factor (EF) (kgCH4/ kg COD) | 0.175 | 0.175 | 0.1 | 0.025 | 0.1 | 0.025 |  | Bo x MCF of the each dry pit latrines | Emission factor from a single person's use of a dry pit latrine, given the maximum methane production capacity of the sludge and the level to which the dry pit latrines allow for aerobic decomposition. This varies based on the moisture content within the dry pit latrine, which is a function of whether it has a lined or unlined pit, whether it is shared or individual, and in the case of unlined pits, whether it is submerged under the groundwater table
|  | Net COD requirement (kg COD/ cap/ year) | 24.528 | 24.528 | 24.528 | 24.528 | 24.528 | 24.528 |  | COD x Percentage reduction of COD | Total organic matter in each person’s fecal sludge requiring decomposition
|  | CH4 emissions (kgCH4/ year) | 60988853.4988 | 50498206.8962 | 90985696.7978 | 18308549.862 | 139672481.1781 | 23632994.4068 | 384086782.6398 | Population using the facility x Emission Factor x Net COD requirement | The total CH4 emissions from dry pit latrines in SSA
|  | CO2e emissions (kgCO2e/ year) | 1524721337.4706 | 1262455172.4058 | 2274642419.9453 | 457713746.5496 | 3491812029.4534 | 590824860.1691 | 9602169565.9938 | CH4 emissions x Global warming potential of methane | The global warming potential (CO2e) of the CH4 emissions from dry pit latrines
| Septic tanks | Heading |  |  |  |  | Values by sub-category |  | Total | Calculation description | Explanation
[7 empty] | Shared | Individual
|  | Population using the facility |  |  |  |  | 29098534.7384 | 48639986.0244 | 77738520.7628 | Total population of SSA x % of population using non-sewered containment facilities x % of population with unemptied non-sewered containment facilities x % of population using each type of septic tank | Total population in SSA that use septic tanks
|  | Emission factor (EF) (kgCH4/ kg COD) |  |  |  |  | 0.125 | 0.125 |  | Bo x MCF of the each septic tank | Emission factor from a single person's use of a septic tank, given the maximum methane production capacity of the sludge and the level to which the septic tanks allow for aerobic decomposition. This varies based on the moisture content within the septic tank, which is a function of whether it is used by a single or multiple households
|  | Net COD requirement (kg COD/ cap/ year) |  |  |  |  | 24.528 | 24.528 |  | COD x Percentage reduction of COD | Total organic matter in each person’s fecal sludge requiring decomposition
|  | CH4 emissions (kgCH4/ year) |  |  |  |  | 89216107.508 | 149130197.1507 | 238346304.6587 | Population using the facility x Emission Factor x Net COD requirement | The total CH4 emissions from septic tanks in SSA
|  | CO2e emissions (kgCO2e/ year) |  |  |  |  | 2230402687.7005 | 3728254928.7677 | 5958657616.4681 | CH4 emissions x Global warming potential of methane | The global warming potential (CO2e) of the CH4 emissions from septic tanks

## Emptied FS_treatment
Calculation of emissions from fecal sludge treatment plants
Please refer to overview sheet for colour coding of cells
|  | Heading | Values | Explanation
| Total emissions from treatment of FS from non-sewered containment facilities | CH4 emissions (kgCH4/ year) | 141645579.1543 | Sum of methane emissions across all stages of treatment minus methane recovered during treatment
|  | CO2e emissions (kgCO2e/ year) | 3541139478.8564 | Sum of methane emissions across all stages of treatment minus methane recovered during treatment, expressed in terms of its global warming potential
Emissions from each treatment stage
| Stage 1 - Thickening tanks | Heading | Values | Calculation description | Explanation
|  | Population equivalent of sludge treated | 22583221.5942 | Total population of SSA x % of population using non-sewered containment facilities x % of population with emptied non-sewered containment facilities x % of population whose sludge is treated at FSTP | Represents the proportion of population whose sludge is treated at a fecal sludge treatment plant
|  | Emission factor (EF) (kgCH4/ kg COD) | 0.225 | Bo x MCF of thickening tanks | Emission factor from the decomposition of a single person's sludge at a thickening tank
|  | Resultant COD (kg COD/ cap/ year) | 14.016 | TOW Influent COD x (1 - COD reduction for thickening tanks) | The amount of organic content that is left over after treatment of sludge at this stage
|  | Net COD requirement (kg COD/ cap/ year) | 24.528 | Average of 'TOW - Influent COD' and 'Resultant COD of thickening tanks' | The organic content that requires decomposition at this stage, based on the amount that enters the treatment stage, and the amount that is left over after treatment at this stage
|  | Population equivalent of effluent sent to WWTP | 4516644.3188 | Population equivalent of sludge treated x % of effluent in the sludge | The amount of effluent that is present in the sludge that is entering at this stage, which is removed and sent to a WWTP for treatment
|  | CH4 emissions (kgCH4/ year) | 124632283.3341 | Population equivalent of sludge treated x Emission factor (EF) x Net COD requirement | The total CH4 emissions from treatment of sludge in the thickening tank
|  | CO2e emissions (kgCO2e/ year) | 3115807083.3513 | CH4 emissions x Global warming potential of methane | The global warming potential (CO2e) of the CH4 emissions from treatment of sludge in the thickening tank
| Stage 2 - Drying beds | Heading | Values | Calculation description | Explanation
|  | Population equivalent of sludge treated | 18066577.2754 | Population equivalent of sludge treated in thickening tanks - Population equivalent of effluent sent to WWTP from thickening tanks | Represents the population equivalent of untreated sludge from the previous stage, which excludes effluents removed at the previous stage
|  | Emission factor (EF) (kgCH4/ kg COD) | 0.0625 | Bo x MCF of drying beds | Emission factor from the decomposition of a single person's sludge at a drying bed
|  | Resultant COD (kg COD/ cap/ year) | 7.008 | Resultant COD of thickening tanks x (1 - COD reduction for drying beds) | The amount of organic content that is left over after treatment of sludge at this stage
|  | Net COD requirement (kg COD/ cap/ year) | 10.512 | Average of resultant COD from thickening tanks and resultant COD from drying beds | The organic content that requires decomposition at this stage, based on the amount that enters this treatment stage, and the amount that is left over after treatment at this stage
|  | Population equivalent of effluent sent to WWTP | 0 | Population equivalent of sludge treated x % of effluent in the sludge | The amount of effluent that is present in the sludge entering at this stage, is removed and sent to a WWTP for treatment. Assumed to be zero for this stage as no effluent is transferred to WWTP from this stage as per Evans, et. al., 2022
|  | CH4 emissions (kgCH4/ year) | 11869741.2699 | Population equivalent of sludge treated x Emission factor (EF) x Net COD requirement | The total CH4 emissions from treatment of sludge in the drying bed
|  | CO2e emissions (kgCO2e/ year) | 296743531.7477 | CH4 emissions x Global warming potential of methane | The global warming potential (CO2e) of the CH4 emissions from treatment of sludge in the drying bed
| Stage 3 - FS storage | Heading | Values | Calculation description | Explanation
|  | Population equivalent of sludge treated | 18066577.2754 | Population equivalent of sludge treated in drying beds - Population equivalent of effluent sent to WWTP from drying beds | Represents the population equivalent of untreated sludge from the previous stage, which excludes effluents removed at the previous stage
|  | Emission factor (EF) (kgCH4/ kg COD) | 0.0625 | Bo x MCF of FS storage | Emission factor from the decomposition of a single person's sludge at the storage stage
|  | Resultant COD (kg COD/ cap/ year) | 2.1024 | Resultant COD of drying beds x (1 - COD reduction for FS storage) | The amount of organic content that is left over after decomposition of sludge at this stage
|  | Net COD requirement (kg COD/ cap/ year) | 4.5552 | Average of resultant COD from drying beds and resultant COD from FS storage | The organic content that requires decomposition at this stage, based on the amount that enters this treatment stage, and the amount that is left over after decompostion at this stage
|  | Population equivalent of effluent sent to WWTP | 0 | Population equivalent of sludge treated x % of effluent in the sludge | The amount of effluent that is present in the sludge that is entering at this stage, which is removed and sent to a WWTP for treatment. Assumed to be zero for this stage as no effluent is transferred to WWTP from this stage as per Evans, et. al., 2022
|  | CH4 emissions (kgCH4/ year) | 5143554.5503 | Population equivalent of sludge treated x Emission factor (EF) x Net COD requirement | The total CH4 emissions from decomposition of sludge in the storage stage
|  | CO2e emissions (kgCO2e/ year) | 128588863.7574 | CH4 emissions x Global warming potential of methane | The global warming potential (CO2e) of the CH4 emissions from decomposition of sludge in the storage stage

## WW_treatment
Calculation of emissions from wastewater treatment plants
Please refer to overview sheet for colour coding of cells
|  | Heading | Values | Explanation
| Total emissions from treatment of WW from sewered facilities | CH4 emissions (kgCH4/ year) | 59114498.6886 | Sum of methane emissions across all stages of treatment minus methane recovered during treatment
|  | CO2e emissions (kgCO2e/ year) | 1477862467.2138 | Sum of methane emissions across all stages of treatment minus methane recovered during treatment, expressed in terms of its global warming potential
Emissions from each treatment stage
| Stage 1 - Anaerobic ponds | Heading | Values | Calculation description | Explanation
|  | Population equivalent of effluent transferred from FSTP | 4516644.3188 | Sum of population equivalent of effluent from each stage at an FSTP | Represents the effluent (expressed as the population equivalent) separated out from fecal sludge at an FSTP and sent for treatment to the WWTP
|  | Population equivalent of WW treated | 12695083.7275 | Total population of SSA x % of population using sewered containment facilities x % of population whose wastewater is treated at WWTP + Population equivalent of effluent transferred from FSTP | Represents the population whose wastewater is treated at a WWTP and the effluent (represented as the population equivalent) received from the FSTP
|  | Emission factor (EF) (kgCH4/ kg COD) | 0.2 | Bo x MCF of anaerobic ponds | Emission factor from the decomposition of a single person's wastewater at an anaerobic pond
|  | Resultant COD (kg COD/ cap/ year) | 12.264 | TOW - Influent COD x (1 - % COD reduction of anaerobic ponds) | The amount of organic content that is left over after treatment of wastewater at this stage
|  | Net COD requirement (kg COD/ cap/ year) | 15.33 | TOW - Influent COD x (1 - % sludge content in wastewater) | The organic content that requires decomposition at this stage, represented as the total organic content in the effluents entering this stage, excluding the organic content removed as sludge in each stage
|  | Population equivalent of sludge | 6347541.8637 | Population equivalent of WW treated in anaerobic ponds x % of sludge content in wastewater | The amount of fecal sludge (represented as the population equivalent) that is present in the wastewater that is entering at this stage
|  | CH4 emissions (kgCH4/ year) | 38923126.7085 | Population equivalent of WW treated x Emission factor (EF) x Net COD requirement | The total CH4 emissions from treatment of wastewater in the anaerobic pond
|  | CO2e emissions (kgCO2e/ year) | 973078167.7128 | CH4 emissions x Global warming potential of methane | The global warming potential (CO2e) of the CH4 emissions from treatment of wastewater in the anaerobic pond
| Stage 2 - Facultative ponds | Heading | Values | Calculation description | Explanation
|  | Population equivalent of WW treated | 6347541.8637 | Population equivalent of WW treated in anaerobic ponds - Population equivalent of sludge from anaerobic ponds | Represents the population equivalent of untreated wastewater from the previous stage, which excludes effluents removed at the previous stage
|  | Emission factor (EF) (kgCH4/ kg COD) | 0.05 | Bo x MCF of facultative ponds | Emission factor from the decomposition of a single person's wastewater at a facultative pond
|  | Resultant COD (kg COD/ cap/ year) | 4.9056 | Resultant COD of anaerobic ponds x (1 - % COD reduction of facultative ponds) | The amount of organic content that is left over after treatment of wastewater at this stage
|  | Net COD requirement (kg COD/ cap/ year) | 6.132 | Resultant COD from anaerobic ponds x (1 - % sludge content in wastewater) | The organic content that requires decomposition at this stage, represented as the total organic content in the effluents entering this stage, excluding the organic content removed as sludge in each stage
|  | Population equivalent of sludge | 3173770.9319 | Population equivalent of WW treated in facultative ponds x % of sludge content in wastewater | The amount of fecal sludge (represented as the population equivalent) that is present in the wastewater that is entering at this stage
|  | CH4 emissions (kgCH4/ year) | 1946156.3354 | Population equivalent of WW treated x Emission factor (EF) x Net COD requirement | The total CH4 emissions from treatment of wastewater in the facultative pond
|  | CO2e emissions (kgCO2e/ year) | 48653908.3856 | CH4 emissions x Global warming potential of methane | The global warming potential (CO2e) of the CH4 emissions from treatment of wastewater in the facultative pond
| Stage 3 - Drying beds | Heading | Values | Calculation description | Explanation
|  | Population equivalent of sludge treated | 9521312.7956 | Population equivalent of sludge from anaerobic ponds + Population equivalent of sludge from facultative ponds | Represents the population equivalent of untreated sludge that is separated out from the wastewater at facultative and anaerobic ponds
|  | Emission factor (EF) (kgCH4/ kg COD) | 0.0625 | Bo x MCF of drying beds | Emission factor from the decomposition of a single person's sludge at the drying bed
|  | Resultant COD (kg COD/ cap/ year) | 15.33 | TOW - Influent COD x (1 - % COD reduction of drying beds) | The amount of organic content that is left over after decomposition of sludge at this stage
|  | Net COD requirement (kg COD/ cap/ year) | 30.66 | TOW - Influent COD | The organic content that requires decomposition, which is the total organic matter in the untreated sludge separated out in stage 1 and stage 2
|  | Population equivalent of sludge | 0 | Population equivalent of WW treated in drying beds x % of sludge content in wastewater | The amount of fecal sludge (represented as the population equivalent) present in the wastewater entering at this stage. Assumed to be zero since this stage only treats sludge, which is separated from the wastewater in stage 1 and stage 2
|  | CH4 emissionsv(kgCH4/ year) | 18245215.6446 | Population equivalent of WW treated x Emission factor (EF) x Net COD requirement | The total CH4 emissions from treatment of sludge in the drying beds
|  | CO2e emissions (kgCO2e/ year) | 456130391.1154 | CH4 emissions x Global warming potential of methane | The global warming potential (CO2e) of the CH4 emissions from treatment of sludge in the drying beds

## Unsafe discharge
Calculation of emissions from unsafe discharge of emptied fecal sludge and wastewater
Please refer to overview sheet for colour coding of cells
|  | Heading | Values | Explanation
| Total emissions from unsafe discharge of emptied fecal sludge and wastewater | CH4 emissions (kgCH4/ year) | 89955475.5234 | Sum of methane emissions across all the systems via unsafe discharge
|  | CO2e emissions (kgCO2e/ year) | 2248886888.0852 | Sum of methane emissions across all the systems via unsafe discharge, expressed in terms of its global warming potential
Emissions from each containment facility
| Unsafe discharge from non-sewered containment facilities | Heading | Total | Calculation description | Explanation
|  | Population using the facility | 79041275.5797 | Total population of SSA x % of population with non-sewered containment facilities x % of population with emptied non-sewered containment facilities x % of population with non-sewered containment facilities whose sludge is emptied and getting discharged untreated | Population whose emptied sludge is unsafely discharged from non-sewered containment facilities
|  | Emission factor (EF) (kgCH4/ kg COD) | 0.0275 | Bo x MCF of the each type of sub-category | Emission factor from the decomposition of a single person's sludge that is unsafely discharged
|  | Net COD requirement (kg COD/ cap/ year) | 35.04 | TOW-influent COD for non-sewered containment facilities' unsafe discharge | Total organic content in one person's fecal sludge requiring decomposition
|  | CH4 emissions (kgCH4/ year) | 76164173.1486 | Population using the facility x Emission Factor x Net COD requirement | Total emissions from the unsafe discharge of emptied fecal sludge
|  | CO2e emissions (kgCO2e/ year) | 1904104328.7147 | CH4 emissions x Global warming potential of methane | The global warming potential (CO2e) of the CH4 emissions from the unsafe discharge of emptied fecal sludge
| Unsafe discharge from sewered containment facilities | Heading | Total | Calculation description | Explanation
|  | Population using the facility | 16356878.8173 | Total population of SSA x % of population with sewered containment facilities x % of population with sewered containment facilities whose sludge is getting discharged untreated | Population whose wastewater is unsafely discharged from sewered containment facilities
|  | Emission factor (EF) (kgCH4/ kg COD) | 0.0275 | Bo x MCF of the each type of sub-category | Emission factor from the decomposition of a single person's wastewater that is unsafely discharged
|  | Net COD requirement (kg COD/ cap/ year) | 30.66 | TOW-influent COD for sewered containment facilities' unsafe discharge | Total organic content in one person's wastewater requiring decomposition
|  | CH4 emissions (kgCH4/ year) | 13791302.3748 | Population using the facility x Emission Factor x Net COD requirement | Total emissions from the unsafe discharge of wastewater
|  | CO2e emissions (kgCO2e/ year) | 344782559.3706 | CH4 emissions x Global warming potential of methane | The global warming potential (CO2e) of the CH4 emissions from unsafe discharge of wastewater

## OD
Calculation of emissions from open defecation
Please refer to overview sheet for colour coding of cells
|  | Heading | Values | Explanation
| Total emissions from open defecation | CH4 emissions (kgCH4/ year) | 4610448.3444 | Sum of methane emissions from open defecation
|  | CO2e emissions (kgCO2e/ year) | 115261208.6108 | Sum of methane emissions from open defecation, expressed in terms of its global warming potential
Emissions from open defecation
| Open defecation | Heading | Total | Calculation description | Explanation
|  | Population practicing open defecation | 4784608.0785 | Total population of SSA x % of population practicing OD | Population who practice open defecation
|  | Emission factor (EF) (kgCH4/ kg COD) | 0.0275 | Bo x MCF of the OD | Emission factor from the decomposition of a single person's sludge from open defecation
|  | Net COD requirement (kg COD/ cap/ year) | 35.04 | COD of a single person’s fecal sludge | Total organic content in one person's fecal sludge requiring decomposition
|  | CH4 emissions (kgCH4/ year) | 4610448.3444 | Population practicing OD x Emission Factor x Net COD requirement | Total emissions from open defecation
|  | CO2e emissions (kgCO2e/ year) | 115261208.6108 | CH4 emissions x Global warming potential of methane | The global warming potential (CO2e) of the CH4 emissions from open defecation

## Inputs -->
This page has been left intentionally blank. The tab is meant for navigation purpose.

## SSA population data
Inputs for SSA population
Please refer to overview sheet for colour coding of cells
General data
|  | Heading |  | Data | Description | Source/ assumption
| General data | Total population of Sub-Saharan Africa |  | 435817915 | Total urban population of Sub-Saharan Africa (SSA) excluding South Africa | Total urban SSA population and urban South Africa population sourced from World Bank Excluded South Africa as the population split across sanitation systems in South Africa is significantly different from the rest of SSA, with ~80% connected to sewerage networks, compared to ~6% for the rest of SSA
|  | Global warming potential of methane (kgCO2e/ kgCH4) |  | 25 | Measure of how much energy the emissions of 1 ton of methane will absorb over a given period of time, relative to the emissions of 1 ton of carbon dioxide (CO2) | Sourced from EPA website
Sanitation data
|  | Heading |  | Data | Description | Source/ assumption
| Population split by sanitation systems | Sewered |  | 5.63% | Proportion of total SSA population using sewered sanitation systems | Sourced from the DHS datasets of 24 SSA countries in backup
|  | Non-sewered |  | 93.27% | Proportion of total SSA population using non-sewered sanitation systems | Sourced from the DHS datasets of 24 SSA countries in backup
|  | Open defecation |  | 1.098% | Proportion of total SSA population practicing open defecation | Sourced from the DHS datasets of 24 SSA countries in backup
|  | Heading | Sub-heading | Data | Description | Source/ assumption
| Population split by users of non-sewered containment facilities | Wet pit latrines | Shared | 7.224% | Proportion of population with unemptied non-sewered containment facilities using shared wet pit latrines | Sourced from the DHS datasets. Assumed that all shared flush latrines (other than those connected to sewers and septic tanks) or washable latrines are wet pit latrines
|  |  | Individual | 5.478% | Proportion of population with unemptied non-sewered containment facilities using individual wet pit latrines | Sourced from the DHS datasets Assumed that all individual flush latrines (other than those connected to sewers and septic tanks) or washable latrines are wet pit latrines
|  | Dry pit latrines | Shared, unlined, below GWT | 4.66% | Proportion of users using shared dry pit latrines with unlined pits below the GWT out of population using unemptied non-sewered containment facilities | Sourced from DHS datasets of 24 SSA countries in backup Categorized ‘VIP toilets’, 'Composting toilets', and ‘Pit latrines with/ without slab or open pit’ as ‘Dry pit latrines’ For classification of lined vs. unlined: - Assumed 75% of ‘VIP toilets’, 'Composting toilets,' and ‘Pit latrines with slabs’ have lined pits - Assumed all remaining toilets categorized as ‘Dry pit latrines’ have unlined pits For classification of ‘below’ vs. ‘above’ GWT: - Estimated % of area with GWT level 0-7 meters below ground level based on a visual analysis of GWT map for SSA countries and classified them as 'areas with high GWT' - Assumed % of urban population living in areas with high GWT is equal to % of area with high GWT for each country - Assumed that split of containment facilities across population in regions with high GWT was the same as the split at the country level - Assumed 50% of the population in areas with high GWT have their pits submerged below GWT. This was done to account for the fact that not all pits in areas of high GWT will have pits deep enough to be submerged below GWT The classification of ‘below’ and ‘above’ GWT affects only unlined pits, as water can only seep through such containment facilities and will, therefore, significantly affect the anaerobic conditions within the pits
|  |  | Individual, unlined, below GWT | 3.859% | Proportion of users using individual dry pit latrines with unlined pits below the GWT out of population using unemptied non-sewered containment facilities
|  |  | Shared, unlined, above GWT | 12.17% | Proportion of users using shared dry pit latrines with unlined pits above the GWT out of population using unemptied non-sewered containment facilities
|  |  | Individual, unlined, above GWT | 9.793% | Proportion of users using individual dry pit latrines with unlined pits above the GWT out of population using unemptied non-sewered containment facilities
|  |  | Shared, lined | 18.68% | Proportion of users using shared dry pit latrines with lined pits out of population using unemptied non-sewered containment facilities
|  |  | Individual, lined | 12.64% | Proportion of users using individual dry pit latrines with lined pits out of population using unemptied non-sewered containment facilities
|  | Septic tanks | Shared | 9.544% | Proportion of users using shared septic tanks out of population using unemptied non-sewered containment facilities | Sourced from the DHS datasets. Calculated as all shared septic tank users
|  |  | Individual | 15.95% | Proportion of users using individual septic tanks out of population using unemptied non-sewered containment facilities | Sourced from the DHS datasets. Calculated as all individual septic tank users
|  | Heading |  | Data | Description | Source/ assumption
| Proportion of fecal sludge emptied from non-sewered sanitation facilities | % of population with non-sewered sanitation systems, with their sludge emptied |  | 25% | Proportion of total SSA population with non-sewered containment facilities with emptied pits | Assumed that approximately 25.0% of non-sewered containment facilities are emptied in a given year in urban SSA, based on a review of multiple literature sources: - Studies of 16 cities (predominantly capital or large) in SSA provide a high estimate of 30.4%-58.0% (Chowdhry & Kone 2012; Sridhar et. al 2011) for the proportion of households with non-sewered containment facilities that empty them in a year. - In contrast, a multi-country study of 32 SSA cities (including smaller towns such as Bure in Ethiopia, Bignona in Senegal, and Kasungu in Malawi) estimated that only 40.0% of the population with non-sewered containment facilities had ever emptied them (SFD Promotion Initiative n.d.). This study suggests that the proportion of the population emptying in a year would be much lower than 40.0% and the high estimates of 30.4%-58.0% from the other studies. - To balance the different estimates and the fact that emptying frequency is likely to be very low in peri-urban areas or small towns (due to availability of space to build new substructures and lack of emptying services), the study assumes 25.0% to be a reasonable estimate of the proportion of households emptying their facilities in a given year.
|  | % of population with non-sewered sanitation systems, with their sludge not emptied |  | 75% | Proportion of total SSA population with non-sewered containment facilities with unemptied pits | Calculated as 100% - % of population with non-sewered containment facilities, sludge emptied
|  | Heading |  | Data | Description | Source/ assumption
| Proportion of fecal sludge treated from emptied non-sewered sanitation facilities | % of population with non-sewered sanitation systems, with sludge emptied and treated at FSTP |  | 22.22% | Proportion of total SSA population with emptied non-sewered containment facilities whose fecal sludge is treated at an FSTP | Sourced from multi-city shit flow diagram of 32 Sub-Saharan African cities
|  | % of population with non-sewered sanitation systems, with sludge emptied and unsafely discharged |  | 77.78% | Proportion of total SSA population with emptied non-sewered containment facilities whose fecal sludge is unsafely discharged | Sourced from multi-city shit flow diagram of 32 Sub-Saharan African cities
|  | Heading |  | Data | Description | Source/ assumption
| Proportion of wastewater treated from sewered sanitation systems | % of population with sewered sanitation systems and wastewater treated at WWTP |  | 33.33% | Proportion of total SSA population with sewered containment facilities whose wastewater is treated at a WWTP | Sourced from multi-city shit flow diagram of 32 Sub-Saharan African cities
|  | % of population with sewered sanitation systems and wastewater unsafely discharge |  | 66.67% | Proportion of total SSA population with sewered containment facilities whose wastewater is unsafely discharged | Sourced from multi-city shit flow diagram of 32 Sub-Saharan African cities

## Unemptied FS data
Inputs for calculation of emissions from unemptied non-sewered containment facilities
Please refer to overview sheet for colour coding of cells
|  | Heading | Data | Description | Source/ assumption
| Context specific values (constant across containment facilities) | Population using non-sewered containment facilities (% of population) | 69.95% | Proportion of total urban SSA population with unemptied non-sewered containment facilities | Sourced from the DHS datasets
|  | Bo (kg CH4/kg COD) | 0.25 | The maximum methane producing potential of the fecal sludge, if all of it were decomposed anaerobically | Assumed the default Bo value provided by IPCC
|  | COD (kg COD/ year/ capita) | 35.04 | The total quantity of organic matter requiring decomposition present in the fecal sludge of one person per year | Sourced from IPCC provided range of BOD for Africa - COD = 2.4 BOD - Kg BOD/ cap/ year = g BOD/ cap/ day x 0.001 x 365 - IPCC provided range for BOD (g/ day/ person) is 35 - 45 for Africa. Given that FS has a higher BOD content than WW, used a range of 40 – 45 for FS - Lower end provides 35.04 Kg COD/ cap/ year
|  | Percentage reduction of COD (%) | 70% | Proportion of the fecal sludge requiring anaerobic decomposition | Sourced from FSG key informant interviews
MCF values varying by non-sewered containment facilities
| Containment facility | Sub-category | Data | Description | Source/ assumption
| Wet pit latrines | Shared | 0.7 | The level to which the containment facility promotes anaerobic decomposition, thereby releasing methane. 0 denotes full aerobic decomposition, and 1 denotes full anaerobic decomposition | Sourced IPCC-recommended value for wet pit latrines. No provision for the poured water to escape the pit, making it highly aerobic for shared and individual usage. Even in the case of unlined pits in dry soils, the continued use of water for cleansing will lead to the retention of moisture within the pits and in the surrounding soil
|  | Individual | 0.7
| Dry pit latrines | Shared, unlined, below GWT | 0.7 |  | Sourced IPCC-recommended value for wet pit latrines. Unlined pits allows for moisture from the groundwater table to seep into the pits for shared and individual usage
|  | Individual, unlined, below GWT | 0.7
|  | Shared, unlined, above GWT | 0.4 |  | Assumed lower end of IPCC-provided range (0.4 – 0.6) for communal latrines in dry climates with pits above the GWT
|  | Individual, unlined, above GWT | 0.1 |  | Sourced IPCC-recommended value for latrines in dry climate with pits above the GWT for small number of users
|  | Shared, lined | 0.4 |  | Assumed lower end of IPCC-provided range (0.4 – 0.6) for communal latrines in dry climates with pits above the GWT
|  | Individual, lined | 0.1 |  | Sourced IPCC-recommended value for latrines in dry climate with pits above the GWT for small number of users
| Septic tanks | Shared | 0.5 |  | Sourced IPCC-recommended value for septic tanks. Technology separates effluents (liquid content) from the fecal sludge and allows the floating liquid to seep out through a pipe at the top of the tank, reducing moisture content for shared and individual usage
|  | Individual | 0.5

## Emptied FS data
Inputs for calculation of emissions from treatment of FS from emptied non-sewered containment facilities
Please refer to overview sheet for colour coding of cells
|  | Heading | Data | Description | Source/ assumption
| Context specific values (constant across treatment technology) | Total sludge from emptied non-sewered facilities being treated (% of population) | 5.182% | Proportion of total urban SSA population with non-sewered containment facilities whose sludge is emptied and treated | Sourced from multi-city shit flow diagram of 32 Sub-Saharan African cities
|  | Bo (kg CH4/ kg COD) | 0.25 | Maximum methane that can be produced if the sludge decomposes entirely anaerobically | Assumed the default Bo value provided by IPCC
|  | TOW-influent COD (kg COD/ year/ capita) | 35.04 | The total quantity of organic matter requiring decomposition present in the fecal sludge of one person per year | Sourced from IPCC provided range of BOD for Africa for stage - COD = 2.4 BOD - Kg BOD/ cap/ year = g BOD/ cap/ day x 0.001 x 365 - IPCC provided range for BOD (g/ day/ person) is 35 - 45 for Africa. Given that FS has a higher BOD than content than WW, used a range of 40 – 45 for FS - Lower end provides 35.04 Kg COD/ cap/ year
|  | Methane recovery (kgCH4/ year) | 0 | The total amount of CH4 recovered (captured and processed) in a year by the treatment plant | Assumed to be 0 as it appears that most treatment plants in developing nations do not capture or process methane as per FSG key informant interviews
Values varying by treatment technology
| Primary Treatment | Heading | Data | Description | Source/ assumption
| Thickening tanks | Methane correction factor | 0.9 | The level to which the process used in the treatment stage is anaerobic, thereby releasing methane. 0 denotes full aerobic decomposition, and 1 denotes full anaerobic decomposition | Sourced values from Evans, et. al., 2022
|  | COD reduction (%) | 60% | The level to which organic content in the inflowing fecal sludge is decomposed during the treatment stage
|  | Effluent content in sludge (%) | 20% | The total effluent content entering each stage of the treatment process
| Secondary Treatment | Heading | Data | Description
| Drying beds | Methane correction factor | 0.25 | The level to which the process used in the treatment stage is anaerobic, thereby releasing methane. 0 denotes full aerobic decomposition, and 1 denotes full anaerobic decomposition
|  | COD reduction (%) | 50% | The level to which organic content in the inflowing fecal sludge is decomposed during the treatment stage
|  | Effluent content in sludge (%) | 0% | The total effluent content entering each stage of the treatment process
| Tertiary Treatment | Heading | Data | Description
| FS storage | Methane correction factor | 0.25 | The level to which the process used in the treatment stage is anaerobic, thereby releasing methane. 0 denotes full aerobic decomposition, and 1 denotes full anaerobic decomposition
|  | COD reduction (%) | 70% | The level to which organic content in the inflowing fecal sludge is decomposed during the treatment stage
|  | Effluent content in sludge (%) | 0% | The total effluent content entering each stage of the treatment process

## WW treatment data
Inputs for calculation of emissions from treatment of WW from sewered containment facilities
Please refer to overview sheet for colour coding of cells
|  | Heading | Data | Description | Source/ assumption
| Context specific values (constant across treatment technology) | Total WW treated (% of population) | 1.877% | Proportion of total urban SSA population using sewered containment facilities whose wastewater is being treated | Sourced from multi-city shit flow diagram of 32 Sub-Saharan African cities
|  | Bo (kg CH4/kg COD) | 0.25 | Maximum methane that can be produced if the sludge decomposes entirely anaerobically | Assumed the default Bo value provided by IPCC
|  | TOW-influent COD (kg COD/ year) | 30.66 | The total quantity of organic matter requiring decomposition present in the wastewater of one person per year | Sourced from IPCC provided range of BOD for Africa for stage - COD = 2.4 BOD - Kg BOD/ cap/ year = g BOD/ cap/ day x 0.001 x 365 - IPCC provided range for BOD (g/ day/ person) is 35 - 45 for Africa. Given that wastewater has a lower BOD than content than FS, used a range of 35 – 40. - Lower end provides 30.66 Kg COD/ cap/ year
|  | Methane recovery (kgCH4 / year) | 0 | The total amount of CH4 recovered (captured and processed) in a year by the treatment plant | Assumed to be 0 as it appears that most treatment plants in developing nations do not capture or process methane as per FSG key informant interviews
Values varying by treatment technology
| Primary Treatment | Heading | Data | Description | Source/ assumption
| Anaerobic ponds | Methane correction factor | 0.8 | The level to which the process used in the treatment stage is anaerobic, thereby releasing methane. 0 denotes full aerobic decomposition, and 1 denotes full anaerobic decomposition | Sourced from IPCC recommended value for anaerobic deep lagoon
|  | COD reduction (%) | 60% | The level to which organic content in the inflowing wastewater is decomposed during the treatment stage | Sourced values from Evans, et. al., 2022
|  | Sludge content in effluent (%) | 50% | The total fecal sludge content entering each stage of the treatment process
| Secondary Treatment | Heading | Data | Description | Source/ assumption
| Facultative ponds | Methane correction factor | 0.2 | The level to which the process used in the treatment stage is anaerobic, thereby releasing methane. 0 denotes full aerobic decomposition, and 1 denotes full anaerobic decomposition | Sourced from IPCC recommended values for anaerobic shallow lagoons and facultative lagoons
|  | COD reduction (%) | 60% | The level to which organic content in the inflowing wastewater is decomposed during the treatment stage | Sourced values from Evans, et. al., 2022
|  | Sludge content in effluent (%) | 50% | The total fecal sludge content entering each stage of the treatment process
| Tertiary Treatment | Heading | Data | Description | Source/ assumption
| Drying beds | Methane correction factor | 0.25 | The level to which the process used in the treatment stage is anaerobic, thereby releasing methane. 0 denotes full aerobic decomposition, and 1 denotes full anaerobic decomposition | Sourced values from Evans, et. al., 2022
|  | COD reduction (%) | 50% | The level to which organic content in the inflowing fecal sludge is decomposed during the treatment stage
|  | Sludge content in effluent (%) | 0% | The total fecal sludge content entering each stage of the treatment process

## Unsafe discharge data
Inputs for calculation of emissions from unsafe discharge of emptied fecal sludge and wastewater
Please refer to overview sheet for colour coding of cells
|  | Heading | Data | Description | Source/ assumption
| Context specific values (constant across sanitation systems) | % of population with sewered sanitation systems and unsafe discharge | 3.753% | % of SSA population using sewered sanitation systems whose wastewater is unsafely discharged before reaching a treatment plant, or is left untreated at a treatment plant | Sourced from multi-city shit flow diagram of 32 Sub-Saharan African cities
|  | % of population with non-sewered sanitation systems, with emptied fecal sludge that is unsafely discharged | 18.14% | % of SSA population connected to non-sewered sanitation systems whose sludge is emptied and unsafely discharged before reaching a treatment plant, or is left untreated at a treatment plant | Sourced from multi-city shit flow diagram of 32 Sub-Saharan African cities
|  | Bo (kg CH4/ kg COD) | 0.25 | Maximum methane that can be produced if the sludge decomposes entirely anaerobically | Assumed the default Bo value provided by IPCC
|  | TOW-influent COD for unsafe discharge from non-sewered sanitation systems (kg COD/ year/ person) | 35.04 | The total quantity of organic content in the fecal sludge that is emptied and unsafely discharged | Sourced from IPCC provided range of BOD for Africa - COD = 2.4 BOD - Kg BOD/ cap/ year = g BOD/ cap/ day x 0.001 x 365 - IPCC provided range for BOD (g/ day/ person) is 35 - 45 for Africa. Given that FS has a higher BOD than content than WW, used a range of 40 – 45 for FS - Lower end provides 35.04 Kg COD/ cap/ year
|  | TOW-influent COD for unsafe discharge from sewered sanitation systems (kg COD/ year/ person) | 30.66 | The total quantity of organic content in the wastewater that is emptied and unsafely discharged | Sourced from IPCC provided range of BOD for Africa - COD = 2.4 BOD - Kg BOD/ cap/ year = g BOD/ cap/ day x 0.001 x 365 - IPCC provided range for BOD (g/ day/ person) is 35 - 45 for Africa. Given that wastewater has a lower BOD than content than FS, used a range of 35 – 40. - Lower end provides 30.66 Kg COD/ cap/ year
Values varying by sanitation systems and destination of unsafe discharge
|  | Heading | Data | Description | Source/ assumption
| Unsafe discharge from non-sewered sanitation system | Methane correction factor | 0.11 | The level to which the decomposition process is anaerobic, thereby releasing methane. 0 denotes full aerobic decomposition, and 1 denotes full anaerobic decomposition | Used IPCC-provided value for Tier 1 discharge (when discharge pathway is unknown) Assumed discharge pathway is unknown because: - The discharge pathway is likely to be context-dependent based on the proximity to large water bodies, or large open areas of land, which can significantly impact MCFs. Discharge pathway impacts MCFs based on the anaerobic conditions in the medium where the wastewater or fecal sludge is disposed. Large open water bodies such as rivers and seas are significantly more aerobic than stagnant drains - IPCC’s tier 1 discharge pathway accounts for a more generalizable approach which was more relevant, given that the study does it for the entire SSA, rather than a single country)
|  | Population equivalent of sludge being discharged (%) | 100% | The proportion of all unsafely discharged emptied fecal sludge ending up in water bodies (unknown discharge is mostly done in water bodies in SSA as per IPCC) | Assumed 100% of all unsafe discharge and untreated FS or wastewater ends up in water bodies given IPCC recommendation to use tier 1 discharge when country-specific information is unknown
|  | Heading | Data | Description | Source/ assumption
| Unsafe discharge from sewered sanitation system | Methane correction factor | 0.11 | The level to which the decomposition process is anaerobic, thereby releasing methane. 0 denotes full aerobic decomposition, and 1 denotes full anaerobic decomposition | Used IPCC-provided value for Tier 1 discharge (when discharge pathway is unknown) Assumed discharge pathway is unknown because: - The discharge pathway is likely to be context-dependent based on the proximity to large water bodies, or large open areas of land, which can significantly impact MCFs. Discharge pathway impacts MCFs based on the anaerobic conditions in the medium where the wastewater or fecal sludge is disposed. Large open water bodies such as rivers and seas are significantly more aerobic than stagnant drains - IPCC’s tier 1 discharge pathway accounts for a more generalizable approach which was more relevant, given that the study does it for the entire SSA rather than a single country
|  | Population equivalent of sludge being discharged (%) | 100% | The proportion of all unsafely discharged emptied fecal sludge ending up in water bodies (unknown discharge is mostly done in water bodies in SSA as per IPCC) | Assumed 100% of all unsafe discharge and untreated FS or wastewater ends up in water bodies given IPCC recommendation to use tier 1 discharge when country-specific information is unknown

## OD data
Inputs for calculation of emissions from open defecation
Please refer to overview sheet for colour coding of cells
|  | Heading | Data | Description | Source/ assumption
| Context specific values (constant across types of open defacation) | Population practicing open defecation (% of population) | 1.098% | Proportion of total SSA population practicing open defecation | Sourced from DHS datasets
|  | Bo (kg CH4/ kg COD) | 0.25 | Maximum methane that can be produced if the sludge decomposes entirely anaerobically | Assumed the default Bo value provided by IPCC
|  | COD (kg COD/ year) | 35.04 | The total quantity of organic matter requiring decomposition present in the fecal sludge of one person per year | Sourced from IPCC provided range of BOD for Africa - COD = 2.4 BOD - Kg BOD/ cap/ year = g BOD/ cap/ day x 0.001 x 365 - IPCC provided range for BOD (g/ day/ person) is 35 - 45 for Africa. Given that FS has a higher BOD than content than WW, used a range of 40 – 45 for FS - Lower end provides 35.04 Kg COD/ cap/ year
MCF value for open defecation
| Heading |  | Data | Description | Source/ assumption
| Methane correction factor |  | 0.11 | The level to which the decomposition process is anaerobic, thereby releasing methane | Sourced IPCC-recommended value for Tier 1 discharge

## Backup -->
This page has been left intentionally blank. The tab is meant for navigation purpose.

## Urban population
Calculating 2020 urban population of Sub-Saharan African countries
|  | Heading |  | Value | Assumption/ source
| Sub-Saharan Africa urban population | Urban population of Sub-Saharan Africa |  | 475423365 | Sourced from World Bank data on urban population in 2020
|  | Urban population of South Africa |  | 39605450 | Sourced from World Bank data on urban population in 2020
|  | Urban population of Sub-Saharan Africa excluding South Africa |  | 435817915 | Total urban SSA population and urban South Africa population for 2020 sourced from World Bank Excluded South Africa as the population split across sanitation systems in South Africa is significantly different from the rest of SSA, with ~80% using sewered facilities (as per DHS dataset for South Africa), compared to ~6% for the rest of SSA (as per DHS datasets of the 24 countries)
|  | Urban population of Sub-Saharan Africa (total of selected 24 countries) |  | 344048292 | Selected 24 countries from Sub-Saharan Africa as these were the countries for which a recent DHS dataset was available. The DHS datasets provided the population split across containment facilities for each country, which was used to estimate population split across containment facilities for urban Sub-Saharan Africa.
|  | Proportion of urban population of selected countries of total urban SSA population excluding South Africa |  | 78.94% | The urban population of the 24 countries represents ~79% of the urban population of SSA, excluding South Africa. Assumed that the population split across containment facilities for the urban population of these countries, is the same as that of urban SSA, excluding South Africa.
Country-wise urban population
| S. No. | Country name | Total urban population | Year of population figure | Source
| 1 | Benin | 6121168 | 2020 | World Bank
| 2 | Burkina Faso | 6587430
| 3 | Burundi | 1675149
| 4 | Cameroon | 15248270
| 5 | Democratic Republic of Congo | 42376327
| 6 | Ethiopia | 25424568
| 7 | Gambia | 1610858
| 8 | Ghana | 18455138
| 9 | Guinea | 4869400
| 10 | Kenya | 14553419
| 11 | Liberia | 2650072
| 12 | Madagascar | 10876290
| 13 | Malawi | 3376840
| 14 | Mali | 9319264
| 15 | Mauritania | 2488943
| 16 | Mozambique | 11559020
| 17 | Nigeria | 108242753
| 18 | Rwanda | 2291674
| 19 | Senegal | 7909390
| 20 | Sierra Leone | 3534267
| 21 | Togo | 3613424
| 22 | Uganda | 11080727
| 23 | United Republic of Tanzania | 21736651
| 24 | Zambia | 8447250

## DHS household data
Country-wise population split across various containment facilities in SSA
| S. No. | Country | Latest year for DHS data | Urban population (million) | Split of population (%) | [38 empty] | Description | Assumption/ source
[5 empty] | Flush toilet |  | Flush to piped sewer system |  | Flush to septic tank |  | Flush to pit latrine |  | Flush to somewhere else |  | Flush, don't know where |  | Flush, bio-digester (bio fill) |  | Pit toilet latrine |  | Ventilated Improved Pit latrine (VIP) |  | Pit latrine with slab |  | Pit latrine without slab/ open pit |  | No facility |  | No facility/ bush/ field |  | Composting toilet |  | Bucket toilet |  | Hanging toilet/ latrine |  | Other |  | Total |  |  |  | Check
[5 empty] | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No |  | Yes
| 1 | Benin | 2018 | 6.1212 | 0% | 0% | 0% | 0% | 14.22% | 1.029% | 1.912% | 1.051% | 0.221% | 0.05672% | 0.01155% | 0.0539% | 0% | 0% | 0% | 0% | 5.156% | 17.28% | 12.45% | 28.1% | 4.196% | 11.88% | 0% | 0% | 0% | 0% | 0.1318% | 0.08437% | 0% | 0% | 0.356% | 0.4797% | 0.1744% | 1.155% | 38.83% |  | 61.17% |  | 100% | Contains the population split across containment facilities and by usage of shared or individual facilities amongst urban population in each country as per the DHS classification | The latest DHS datasets available for each country range across 2014–2021, with the majority being within three years of 2020. Assumed that the split of sanitation systems of the urban population for a country has not significantly changed during this time period.
| 2 | Burkina Faso | 2018 | 6.5874 | 0% | 0% | 1.152% | 0% | 6.755% | 1.803% | 0.5522% | 0.1152% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 2.713% | 2.286% | 39.55% | 42.88% | 1.061% | 0.9966% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.1367% | 51.78% |  | 48.22% |  | 100%
| 3 | Burundi | 2017 | 1.6751 | 0% | 0% | 1.051% | 2.97% | 16.61% | 7.606% | 1.013% | 0.442% | 0.02484% | 0.07735% | 0% | 0.111% | 0% | 0% | 0% | 0% | 0.5479% | 0.396% | 18.52% | 30.83% | 8.727% | 10.78% | 0% | 0% | 0% | 0% | 0.04481% | 0.1239% | 0% | 0% | 0.08425% | 0.04152% | 0% | 0% | 46.62% |  | 53.38% |  | 100%
| 4 | Cameroon | 2018 | 15.2483 | 0% | 0% | 3.472% | 0.02589% | 20.89% | 1.246% | 2.068% | 0.5884% | 0.186% | 0.09703% | 0.159% | 0% | 0% | 0% | 0% | 0% | 1.529% | 1.693% | 25.66% | 27.57% | 8.83% | 4.813% | 0% | 0% | 0% | 0% | 0.155% | 0.1506% | 0.02575% | 0% | 0.4244% | 0.4027% | 0.01135% | 0.009044% | 63.41% |  | 36.59% |  | 100%
| 5 | Democratic Republic of Congo | 2014 | 42.3763 | 0% | 0% | 0.5078% | 0.1977% | 5.12% | 8.497% | 0.4051% | 1.795% | 0.02121% | 0.1182% | 0% | 0.09132% | 0% | 0% | 0% | 0% | 0.1754% | 0.5876% | 15.92% | 25.34% | 15.55% | 25.31% | 0% | 0% | 0% | 0% | 0.01594% | 0% | 0.2635% | 0.01594% | 0% | 0% | 0% | 0.07065% | 37.97% |  | 62.03% |  | 100%
| 6 | Ethiopia | 2019 | 25.4246 | 0% | 0% | 1.387% | 0.2242% | 4.111% | 1.12% | 2.111% | 3.594% | 0.2176% | 0.6513% | 0.03579% | 0.01163% | 0% | 0% | 0% | 0% | 1.468% | 1.411% | 11.31% | 18.93% | 28.75% | 23.48% | 0% | 0% | 0% | 0% | 0.2566% | 0.06266% | 0.1024% | 0% | 0.02729% | 0.01944% | 0.4743% | 0.2495% | 50.25% |  | 49.75% |  | 100%
| 7 | Gambia | 2020 | 1.6109 | 0% | 0% | 1.521% | 1.748% | 35.16% | 6.425% | 4.26% | 2.91% | 0% | 0.005558% | 0.05704% | 0% | 0% | 0% | 0% | 0% | 1.674% | 2.021% | 11.9% | 12.82% | 10.57% | 8.816% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.003423% | 0.1047% | 65.15% |  | 34.85% |  | 100%
| 8 | Ghana | 2019 | 18.4551 | 0% | 0% | 1.513% | 1.582% | 15.68% | 25% | 0.2928% | 4.813% | 0.05616% | 0.4749% | 0% | 0.4064% | 0.07755% | 0.2486% | 0% | 0% | 2.539% | 30.66% | 1.528% | 8.705% | 0.5447% | 5.399% | 0% | 0% | 0% | 0% | 0.09271% | 0.3099% | 0% | 0.01811% | 0% | 0.02424% | 0% | 0.03349% | 22.33% |  | 77.67% |  | 100%
| 9 | Guinea | 2021 | 4.8694 | 0% | 0% | 0.5793% | 0.3573% | 18.89% | 5.653% | 2.164% | 4.38% | 0.5361% | 0% | 0.1583% | 0% | 0% | 0% | 0% | 0% | 0.8962% | 1.981% | 18.36% | 41.56% | 1.582% | 2.788% | 0% | 0% | 0% | 0% | 0% | 0.05419% | 0% | 0.06403% | 0% | 0% | 0% | 0% | 43.17% |  | 56.83% |  | 100%
| 10 | Kenya | 2020 | 14.5534 | 0% | 0% | 18.11% | 3.76% | 11.25% | 4.008% | 3.436% | 3.562% | 2.068% | 2.453% | 0.09927% | 0.2679% | 0% | 0% | 0% | 0% | 1.672% | 5.152% | 10.11% | 17.14% | 3.358% | 10.39% | 0% | 0% | 0% | 0% | 0% | 2.228% | 0.1752% | 0.7465% | 0% | 0% | 0% | 0.01502% | 50.27% |  | 49.73% |  | 100%
| 11 | Liberia | 2020 | 2.6501 | 0% | 0% | 0.4877% | 1.545% | 27.84% | 23.22% | 3.244% | 7.999% | 0.6864% | 1.291% | 0.02108% | 0.1649% | 0% | 0% | 0% | 0% | 0.5545% | 3.045% | 2.099% | 7.122% | 1.54% | 9.519% | 0% | 0% | 0% | 0% | 0.02505% | 0.2973% | 0.3815% | 0.3278% | 0.6091% | 7.673% | 0.01268% | 0.2973% | 37.5% |  | 62.5% |  | 100%
| 12 | Madagascar | 2021 | 10.8763 | 0% | 0% | 0.9378% | 2.376% | 12.08% | 11.47% | 0.5493% | 1.493% | 0.05574% | 0.3014% | 0.102% | 0.3168% | 0% | 0% | 0% | 0% | 0.2578% | 0.4268% | 7.942% | 27.54% | 6.101% | 25.84% | 0% | 0% | 0% | 0% | 0.07357% | 0.0876% | 0.4676% | 0.6746% | 0.07771% | 0.4187% | 0.08809% | 0.3295% | 28.73% |  | 71.27% |  | 100%
| 13 | Malawi | 2017 | 3.3768 | 0% | 0% | 2.642% | 0.08343% | 12.04% | 1.209% | 0.5269% | 0.07767% | 0% | 0% | 0.09061% | 0% | 0% | 0% | 0% | 0% | 0.3259% | 0.3419% | 13.03% | 23.93% | 16.08% | 29.49% | 0% | 0% | 0% | 0% | 0% | 0.1115% | 0% | 0% | 0% | 0% | 0% | 0.02205% | 44.73% |  | 55.27% |  | 100%
| 14 | Mali | 2018 | 9.3193 | 0% | 0% | 5.727% | 0.3954% | 5.055% | 0.8045% | 1.805% | 0.2031% | 0.0173% | 0.1641% | 0.6339% | 0.3213% | 0% | 0% | 0% | 0% | 4.894% | 4.725% | 21.6% | 38.98% | 5.899% | 7.836% | 0% | 0% | 0% | 0% | 0.4108% | 0.07978% | 0.0002032% | 0.004171% | 0.2796% | 0.1024% | 0.000897% | 0.05864% | 46.32% |  | 53.68% |  | 100%
| 15 | Mozambique | 2018 | 11.559 | 0% | 0% | 2.851% | 0.2824% | 23.22% | 3.467% | 3.583% | 0.869% | 0.7544% | 0.246% | 0.1502% | 0% | 0% | 0% | 0% | 0% | 20.01% | 4.474% | 13.75% | 3.636% | 18.1% | 4.166% | 0% | 0% | 0% | 0% | 0.1023% | 0% | 0.02019% | 0% | 0% | 0% | 0.03036% | 0.2833% | 82.58% |  | 17.42% |  | 100%
| 16 | Nigeria | 2018 | 108.2428 | 0% | 0% | 5.674% | 2.082% | 20.74% | 10.74% | 6.441% | 9.904% | 1.109% | 0.4615% | 0.0254% | 0.02702% | 0% | 0% | 0% | 0% | 1.601% | 2.533% | 13.29% | 14.45% | 4.778% | 4.023% | 0% | 0% | 0% | 0% | 0.03361% | 0.05891% | 0.1732% | 0.09642% | 0.1692% | 1.517% | 0% | 0.06703% | 54.04% |  | 45.96% |  | 100%
| 17 | Rwanda | 2020 | 2.2917 | 0% | 0% | 5.07% | 0.2264% | 3.996% | 0.3083% | 1.794% | 0.1971% | 1.829% | 1.424% | 0.1471% | 0.01274% | 0% | 0% | 0% | 0% | 2.259% | 1.638% | 31.26% | 41.79% | 5.609% | 2.348% | 0% | 0% | 0% | 0% | 0.04381% | 0.0524% | 0% | 0% | 0% | 0% | 0% | 0% | 52% |  | 48% |  | 100%
| 18 | Senegal | 2021 | 7.9094 | 0% | 0% | 15.64% | 5.08% | 39.88% | 20.96% | 2.952% | 2.008% | 0.03992% | 0.03288% | 0% | 0% | 0% | 0% | 0% | 0% | 1.468% | 0.1027% | 4.512% | 1.38% | 3.629% | 0.7652% | 0% | 0% | 0% | 0% | 0.4232% | 0.152% | 0.03008% | 0.02059% | 0.6398% | 0.114% | 0% | 0.1654% | 69.21% |  | 30.79% |  | 100%
| 19 | Sierra Leone | 2019 | 3.5343 | 0% | 0% | 0.2491% | 0.7084% | 12.04% | 2.309% | 2.734% | 3.906% | 0.2387% | 0.4518% | 0.02156% | 0% | 0% | 0% | 0% | 0% | 0.693% | 2.104% | 13.61% | 49.1% | 2.496% | 7.683% | 0% | 0% | 0% | 0% | 0.1949% | 0.1066% | 0.3563% | 0.06896% | 0.08789% | 0.8381% | 0% | 0% | 32.72% |  | 67.28% |  | 100%
| 20 | Togo | 2017 | 3.6134 | 0% | 0% | 0.9852% | 0.5114% | 19.43% | 26.32% | 2.434% | 3.177% | 0.1095% | 0.308% | 0% | 0.1317% | 0% | 0% | 0% | 0% | 0.3924% | 2.391% | 4.913% | 31.76% | 1.402% | 5.27% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.06506% | 0% | 0% | 0.4042% | 29.73% |  | 70.27% |  | 100%
| 21 | Uganda | 2019 | 11.0807 | 0% | 0% | 1.087% | 0.8027% | 5.989% | 2.747% | 0.9058% | 1.084% | 0.0991% | 0.2645% | 0.05986% | 0.1965% | 0% | 0% | 0% | 0% | 10.39% | 19.62% | 13.68% | 15.52% | 17.54% | 8.752% | 0% | 0% | 0% | 0% | 0.668% | 0.1612% | 0% | 0.04341% | 0.1988% | 0.08739% | 0.1027% | 0% | 50.72% |  | 49.28% |  | 100%
| 22 | Zambia | 2018 | 8.4473 | 0% | 0% | 12.21% | 5.197% | 9.576% | 4.173% | 1.32% | 2.637% | 0.2116% | 0.5366% | 0.1821% | 0.2455% | 0% | 0% | 0% | 0% | 0.3828% | 0.4782% | 12.21% | 30.21% | 7.715% | 12.55% | 0% | 0% | 0% | 0% | 0% | 0.02244% | 0% | 0% | 0.01365% | 0% | 0.04849% | 0.07207% | 43.87% |  | 56.13% |  | 100%
Note: The population split across containment facilities for Mauritania and United Republic of Tanzania were different from the 22 countries listed above. These have been captured in separate tables below
| S. No. | Country | Latest year for DHS data | Urban population (million) | Split of population (%)
[5 empty] | Flush connected to sewer system |  | Flush connected to septic tank |  | Flush connected to covered pit |  | Flush connected to open pit |  | Flush connected to don't know where |  | Ventilated improved pit latrine |  | Covered pit latrine |  | Pit latrine with no cover |  | Composting latrine |  | Hanging latrine (knive) |  | Other | [13 empty] | Total |  |  |  | Check
[5 empty] | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | [6 empty] | Yes | [6 empty] | No |  | Yes
| 23 | Mauritania | 2021 | 2.4889 | 9.638% | 1.917% | 19.48% | 5.82% | 31.03% | 7.314% | 4.874% | 0.7726% | 0.1034% | 0.06325% | 7.16% | 1.357% | 4.27% | 2.098% | 1.325% | 0.414% | 1.286% | 0.1249% | 0.5889% | 0.1704% | 0% | [6 empty] | 0.1911% | [6 empty] | 79.76% |  | 20.24% |  | 100%
| S. No. | Country | Latest year for DHS data | Urban population (million) | Split of population (%)
[5 empty] | Flush toilet |  | Flush to piped sewer system |  | Flush to septic tank |  | Flush to pit latrine |  | Flush to somewhere else |  | Flush, don't know where |  | Flush, bio-digester (bio fill) |  | Pit toilet latrine |  | Ventilated Improved Pit latrine (VIP) |  | Pit latrine with slab/ washable |  | Pit latrine without slab/ open pit |  | Pit latrine with slab/ non-washable |  | No facility |  | No facility/ bush/ field |  | Composting toilet |  | Bucket toilet |  | Hanging toilet/ latrine |  | Other |  | Total |  | Check
[5 empty] | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes
| 24 | United Republic of Tanzania | 2017 | 21.7367 | 0% | 0% | 1.487% | 0.7264% | 12.86% | 14.55% | 11.43% | 13.03% | 1.356% | 1.813% | 0.01301% | 0.05439% | 0% | 0% | 0% | 0% | 2.629% | 3.025% | 7.034% | 11.39% | 6.859% | 2.713% | 5.643% | 3.065% | 0% | 0% | 0% | 0% | 0.2223% | 0.05795% | 0.01797% | 0% | 0% | 0% | 0.02579% | 0% | 49.58% | 50.42% | 100%

## Country-wise category 1
Country-wise population split across containment facilities - categorized for this study
| S. No. | Country | Split of population (%) | [10 empty] | Description | Assumption/ source
|  |  | Sewered facilities | Septic tank |  | Wet pit latrines |  | Dry pit latrines |  |  |  | Open defecation | Total
|  |  |  | Shared | Individual | Shared | Individual | Improved shared | Improved individual | Unimproved shared | Unimproved individual
| 1 | Benin | 0% | 1.029% | 14.22% | 1.161% | 2.144% | 45.46% | 17.74% | 11.88% | 4.196% | 2.165% | 100% | Includes the split of urban population for 24 countries across different containment facilities based on the re-categorization of DHS datasets | Re-categorized DHS datasets based on the following assumptions: - Flush to piped sewer system categorized as 'Sewered facilities' - Flush to septic tank categorized as 'Septic tanks' - All remaining flush/ washable toilets categorized as 'Wet pit latrines' - VIP, composting toilets, and pit latrines with a slab categorized as 'Dry pit latrines, improved' - Pit latrines without slabs/ open pits categorized as 'Dry pit latrines unimproved' - Bush/ no facility/ field, bucket toilets, hanging toilets, and other facilities categorized as 'Open defecation' - Classification of shared vs. individual: Columns labeled as 'Yes' have been added to get % of the population using shared facilities, and Columns labeled as 'No' have been added to get % of the population using individual facilities for different containment facilities No additional categories were maintained for 'Flush to sewer' since sewer systems do not emit methane in the containment stage
| 2 | Burkina Faso | 1.152% | 1.803% | 6.755% | 0.1152% | 0.5522% | 45.17% | 42.26% | 0.9966% | 1.061% | 0.1367% | 100%
| 3 | Burundi | 4.022% | 7.606% | 16.61% | 0.6304% | 1.038% | 31.35% | 19.11% | 10.78% | 8.727% | 0.1258% | 100%
| 4 | Cameroon | 3.498% | 1.246% | 20.89% | 0.6854% | 2.413% | 29.41% | 27.34% | 4.813% | 8.83% | 0.8732% | 100%
| 5 | Democratic Republic of Congo | 0.7055% | 8.497% | 5.12% | 2.005% | 0.4263% | 25.93% | 16.11% | 25.31% | 15.55% | 0.3501% | 100%
| 6 | Ethiopia | 1.611% | 1.12% | 4.111% | 4.257% | 2.365% | 20.4% | 13.03% | 23.48% | 28.75% | 0.8729% | 100%
| 7 | Gambia | 3.268% | 6.425% | 35.16% | 2.916% | 4.317% | 14.84% | 13.57% | 8.816% | 10.57% | 0.1082% | 100%
| 8 | Ghana | 3.095% | 25% | 15.68% | 5.943% | 0.4265% | 39.67% | 4.16% | 5.399% | 0.5447% | 0.07584% | 100%
| 9 | Guinea | 0.9367% | 5.653% | 18.89% | 4.38% | 2.859% | 43.59% | 19.25% | 2.788% | 1.582% | 0.06403% | 100%
| 10 | Kenya | 21.87% | 4.008% | 11.25% | 6.282% | 5.603% | 24.52% | 11.78% | 10.39% | 3.358% | 0.9368% | 100%
| 11 | Liberia | 2.033% | 23.22% | 27.84% | 9.455% | 3.951% | 10.46% | 2.679% | 9.519% | 1.54% | 9.302% | 100%
| 12 | Madagascar | 3.314% | 11.47% | 12.08% | 2.111% | 0.7071% | 28.05% | 8.273% | 25.84% | 6.101% | 2.056% | 100%
| 13 | Malawi | 2.725% | 1.209% | 12.04% | 0.07767% | 0.6176% | 24.39% | 13.36% | 29.49% | 16.08% | 0.02205% | 100%
| 14 | Mali | 6.123% | 0.8045% | 5.055% | 0.6885% | 2.456% | 43.79% | 26.9% | 7.836% | 5.899% | 0.4459% | 100%
| 15 | Mozambique | 3.133% | 3.467% | 23.22% | 1.115% | 4.488% | 8.11% | 33.86% | 4.166% | 18.1% | 0.3338% | 100%
| 16 | Nigeria | 7.756% | 10.74% | 20.74% | 10.39% | 7.576% | 17.04% | 14.93% | 4.023% | 4.778% | 2.023% | 100%
| 17 | Rwanda | 5.296% | 0.3083% | 3.996% | 1.634% | 3.77% | 43.48% | 33.56% | 2.348% | 5.609% | 0% | 100%
| 18 | Senegal | 20.72% | 20.96% | 39.88% | 2.041% | 2.992% | 1.635% | 6.403% | 0.7652% | 3.629% | 0.9699% | 100%
| 19 | Sierra Leone | 0.9575% | 2.309% | 12.04% | 4.358% | 2.995% | 51.31% | 14.5% | 7.683% | 2.496% | 1.351% | 100%
| 20 | Togo | 1.497% | 26.32% | 19.43% | 3.617% | 2.544% | 34.15% | 5.306% | 5.27% | 1.402% | 0.4692% | 100%
| 21 | Uganda | 1.89% | 2.747% | 5.989% | 1.545% | 1.065% | 35.3% | 24.74% | 8.752% | 17.54% | 0.4322% | 100%
| 22 | Zambia | 17.41% | 4.173% | 9.576% | 3.419% | 1.713% | 30.71% | 12.59% | 12.55% | 7.715% | 0.1342% | 100%
| 23 | Mauritania | 11.56% | 5.82% | 19.48% | 8.15% | 36.01% | 3.58% | 12.72% | 0.414% | 1.325% | 0.9504% | 100%
| 24 | United Republic of Tanzania | 2.214% | 14.55% | 12.86% | 26.29% | 19.83% | 6.148% | 8.495% | 2.713% | 6.859% | 0.04376% | 100%

## Country-wise GWT data
Country-wise % of population in areas with high GWT in Sub-Saharan Africa
| S. No. | Country | % area with high GWT | % of population in areas with high GWT | % of population with pits submerged under GWT (conservative estimate) | Assumption/ source
| 1 | Benin | 40% | 40% | 20% | Depth to groundwater map sourced from: MacDonald, A. M., Bonsor, H. C., Dochartaigh, B. E. O. & Taylor, R. G., 2012. Quantitative maps of groundwater resources in Africa. Environmental Research Letters. The following assumptions were made while deriving the population in areas with high GWT: - Estimated % of the area with GWT level 0-7 meters below ground level based on a visual analysis of GWT map for countries in Sub-Saharan Africa, and classified these areas as ‘high GWT’ - % of the urban population living in areas with high GWT is equal to % of the area with high GWT for each country - 50% of the population in areas with high GWT have their pits submerged below GWT. This was done to account for the fact that not all pits in areas of high GWT will have pits deep enough to be submerged below GWT Note: GWT data was unavailable for Madagascar, requiring assumptions to estimate areas with high GWT. Assumed 50% of regions in Madagascar have high GWT because: - Madagascar is an island country, suggesting high GWT along several regions on the coast - 50% appeared to be a safe and conservative estimate given the GWT levels in countries with large coastlines, such as Tanzania (80%), Mozambique (75%), Sierra Leone (75%), and Nigeria (80%)
| 2 | Burkina Faso | 20% | 20% | 10%
| 3 | Burundi | 50% | 50% | 25%
| 4 | Cameroon | 60% | 60% | 30%
| 5 | Democratic Republic of Congo | 75% | 75% | 37.5%
| 6 | Ethiopia | 10% | 10% | 5%
| 7 | Gambia | 0% | 0% | 0%
| 8 | Ghana | 50% | 50% | 25%
| 9 | Guinea | 50% | 50% | 25%
| 10 | Kenya | 10% | 10% | 5%
| 11 | Liberia | 40% | 40% | 20%
| 12 | Madagascar | 50% | 50% | 25%
| 13 | Malawi | 75% | 75% | 37.5%
| 14 | Mali | 5% | 5% | 2.5%
| 15 | Mozambique | 75% | 75% | 37.5%
| 16 | Nigeria | 80% | 80% | 40%
| 17 | Rwanda | 50% | 50% | 25%
| 18 | Senegal | 5% | 5% | 2.5%
| 19 | Sierra Leone | 75% | 75% | 37.5%
| 20 | Togo | 40% | 40% | 20%
| 21 | Uganda | 80% | 80% | 40%
| 22 | Zambia | 75% | 75% | 37.5%
| 23 | Mauritania | 0% | 0% | 0%
| 24 | United Republic of Tanzania | 80% | 80% | 40%

## Country-wise category 2
Country-wise population split across containment facilities - categorized for this study including impact of groundwater table
| S. No. | Country | Urban population (million) | Weight | Split of population (%) | [14 empty] | Description | Assumption/ source
[5 empty] | Sewered facilities | Septic tank |  | Wet pit latrines |  | Dry pit latrines | [7 empty] | Open defecation | Total
[6 empty] | Shared | Individual | Shared | Individual | Improved shared |  | Improved individual |  | Unimproved shared |  | Unimproved individual
[10 empty] | Below GWT | Above GWT | Below GWT | Above GWT | Below GWT | Above GWT | Below GWT | Above GWT
|  | Sub-Saharan Africa | 344.0483 |  | 5.63% | 8.902% | 14.88% | 6.738% | 5.109% | 6.528% | 16.7% | 4.69% | 11.03% | 2.715% | 7.174% | 2.427% | 6.377% | 1.098% | 100% | Weighted average of population split in each country across containment facilities. Weight for each country is the proportion of its urban population in the total urban population of the 24 countries | The following assumptions were made while calculating % of dry pit latrines as 'below' and 'above' GWT: - The classification of 'below' and 'above' GWT made only for dry pit latrines with unlined pits (population split by lining of pits for all dry latrines calculated further on) as water can only seep through such containment facilities and will therefore, significantly affect the anaerobic conditions within the pit - Assumed that split of containment facilities across population in regions with high GWT was the same as the split at the country-level sourced from DHS datasets
| 1 | Benin | 6.1212 | 0.017792 | 0% | 1.029% | 14.22% | 1.161% | 2.144% | 9.093% | 36.37% | 3.548% | 14.19% | 2.376% | 9.505% | 0.8392% | 3.357% | 2.165% | 100% | Includes split of unlined pits by whether they are below or above GWT, in addition to categorization in 'Country-wise category 1'. - Improved pits above GWT calculated as % of population with pits submerged under GWT x % of population using unimproved pits - Improved pits above GWT calculated as total % of population using improved pits - % improved pits below GWT - Unimproved pits below GWT calculated as % of population with pits submerged under GWT x % of population using unimproved pits - Unimproved pits above GWT calculated as total % of population using unimproved pits - % unimproved pits below GWT
| 2 | Burkina Faso | 6.5874 | 0.019147 | 1.152% | 1.803% | 6.755% | 0.1152% | 0.5522% | 4.517% | 40.65% | 4.226% | 38.04% | 0.09966% | 0.8969% | 0.1061% | 0.9548% | 0.1367% | 100%
| 3 | Burundi | 1.6751 | 0.0048689 | 4.022% | 7.606% | 16.61% | 0.6304% | 1.038% | 7.837% | 23.51% | 4.778% | 14.33% | 2.696% | 8.089% | 2.182% | 6.546% | 0.1258% | 100%
| 4 | Cameroon | 15.2483 | 0.04432 | 3.498% | 1.246% | 20.89% | 0.6854% | 2.413% | 8.823% | 20.59% | 8.202% | 19.14% | 1.444% | 3.369% | 2.649% | 6.181% | 0.8732% | 100%
| 5 | Democratic Republic of Congo | 42.3763 | 0.12317 | 0.7055% | 8.497% | 5.12% | 2.005% | 0.4263% | 9.723% | 16.2% | 6.042% | 10.07% | 9.492% | 15.82% | 5.829% | 9.716% | 0.3501% | 100%
| 6 | Ethiopia | 25.4246 | 0.073898 | 1.611% | 1.12% | 4.111% | 4.257% | 2.365% | 1.02% | 19.38% | 0.6515% | 12.38% | 1.174% | 22.31% | 1.438% | 27.31% | 0.8729% | 100%
| 7 | Gambia | 1.6109 | 0.0046821 | 3.268% | 6.425% | 35.16% | 2.916% | 4.317% | 0% | 14.84% | 0% | 13.57% | 0% | 8.816% | 0% | 10.57% | 0.1082% | 100%
| 8 | Ghana | 18.4551 | 0.053641 | 3.095% | 25% | 15.68% | 5.943% | 0.4265% | 9.919% | 29.76% | 1.04% | 3.12% | 1.35% | 4.05% | 0.1362% | 0.4085% | 0.07584% | 100%
| 9 | Guinea | 4.8694 | 0.014153 | 0.9367% | 5.653% | 18.89% | 4.38% | 2.859% | 10.9% | 32.69% | 4.814% | 14.44% | 0.6969% | 2.091% | 0.3955% | 1.186% | 0.06403% | 100%
| 10 | Kenya | 14.5534 | 0.042301 | 21.87% | 4.008% | 11.25% | 6.282% | 5.603% | 1.226% | 23.3% | 0.5892% | 11.19% | 0.5196% | 9.871% | 0.1679% | 3.19% | 0.9368% | 100%
| 11 | Liberia | 2.6501 | 0.0077026 | 2.033% | 23.22% | 27.84% | 9.455% | 3.951% | 2.093% | 8.371% | 0.5358% | 2.143% | 1.904% | 7.615% | 0.3079% | 1.232% | 9.302% | 100%
| 12 | Madagascar | 10.8763 | 0.031613 | 3.314% | 11.47% | 12.08% | 2.111% | 0.7071% | 7.013% | 21.04% | 2.068% | 6.205% | 6.459% | 19.38% | 1.525% | 4.575% | 2.056% | 100%
| 13 | Malawi | 3.3768 | 0.009815 | 2.725% | 1.209% | 12.04% | 0.07767% | 0.6176% | 9.145% | 15.24% | 5.01% | 8.35% | 11.06% | 18.43% | 6.03% | 10.05% | 0.02205% | 100%
| 14 | Mali | 9.3193 | 0.027087 | 6.123% | 0.8045% | 5.055% | 0.6885% | 2.456% | 1.095% | 42.69% | 0.6726% | 26.23% | 0.1959% | 7.64% | 0.1475% | 5.752% | 0.4459% | 100%
| 15 | Mozambique | 11.559 | 0.033597 | 3.133% | 3.467% | 23.22% | 1.115% | 4.488% | 3.041% | 5.069% | 12.7% | 21.16% | 1.562% | 2.604% | 6.789% | 11.32% | 0.3338% | 100%
| 16 | Nigeria | 108.2428 | 0.31461 | 7.756% | 10.74% | 20.74% | 10.39% | 7.576% | 6.817% | 10.23% | 5.972% | 8.958% | 1.609% | 2.414% | 1.911% | 2.867% | 2.023% | 100%
| 17 | Rwanda | 2.2917 | 0.0066609 | 5.296% | 0.3083% | 3.996% | 1.634% | 3.77% | 10.87% | 32.61% | 8.39% | 25.17% | 0.5869% | 1.761% | 1.402% | 4.206% | 0% | 100%
| 18 | Senegal | 7.9094 | 0.022989 | 20.72% | 20.96% | 39.88% | 2.041% | 2.992% | 0.04086% | 1.594% | 0.1601% | 6.243% | 0.01913% | 0.746% | 0.09073% | 3.538% | 0.9699% | 100%
| 19 | Sierra Leone | 3.5343 | 0.010273 | 0.9575% | 2.309% | 12.04% | 4.358% | 2.995% | 19.24% | 32.07% | 5.436% | 9.06% | 2.881% | 4.802% | 0.9361% | 1.56% | 1.351% | 100%
| 20 | Togo | 3.6134 | 0.010503 | 1.497% | 26.32% | 19.43% | 3.617% | 2.544% | 6.829% | 27.32% | 1.061% | 4.245% | 1.054% | 4.216% | 0.2805% | 1.122% | 0.4692% | 100%
| 21 | Uganda | 11.0807 | 0.032207 | 1.89% | 2.747% | 5.989% | 1.545% | 1.065% | 14.12% | 21.18% | 9.894% | 14.84% | 3.501% | 5.251% | 7.018% | 10.53% | 0.4322% | 100%
| 22 | Zambia | 8.4473 | 0.024553 | 17.41% | 4.173% | 9.576% | 3.419% | 1.713% | 11.52% | 19.2% | 4.721% | 7.869% | 4.708% | 7.847% | 2.893% | 4.822% | 0.1342% | 100%
| 23 | Mauritania | 2.4889 | 0.0072343 | 11.56% | 5.82% | 19.48% | 8.15% | 36.01% | 0% | 3.58% | 0% | 12.72% | 0% | 0.414% | 0% | 1.325% | 0.9504% | 100%
| 24 | United Republic of Tanzania | 21.7367 | 0.063179 | 2.214% | 14.55% | 12.86% | 26.29% | 19.83% | 2.459% | 3.689% | 3.398% | 5.097% | 1.085% | 1.628% | 2.743% | 4.115% | 0.04376% | 100%

## Assumptions for pit lining
Assumptions for categorization of improved and unimproved toilets into lined and unlined pits
| Variable | Value | Assumption/ source
| % of improved containment facilities with lined pits | 75% | DHS dataset did not provide the split between lined and unlined pit latrines. However, this distinction has a significant effect on level of emissions. Assumptions were made for optimistic and pessimistic scenario emissions in 2020 to categorize improved and unimproved pits as lined vs. unlined: - All unimproved pit latrines have unlined pits in both scenarios - For pessimistic case: 25% of improved toilets have lined pits and remaining have unlined pits - For optimistic case: 75% of improved toilets have lined pits and remaining have unlined pits
| % of improved containment facilities with unlined pits | 25%
| % of unimproved containment facilities with lined pits | 0%
| % of unimproved containment facilities with unlined pits | 100%

## SSA containment split
Sub-Saharan Africa population split across containment facilities - categorized
Population split across containment facilities in urban SSA
| Sewered facilities | Septic tank |  | Wet pit latrines |  | Dry pit latrines | [5 empty] | Open defecation | Total | Description
|  | Shared | Individual | Shared | Individual | Lined, shared | Lined, individual | Unlined shared |  | Unlined individual
[8 empty] | Below GWT | Above GWT | Below GWT | Above GWT
| 5.63% | 8.902% | 14.88% | 6.738% | 5.109% | 17.42% | 11.79% | 4.347% | 11.35% | 3.599% | 9.135% | 1.098% | 100% | Final population split across containment facilities including split across unlined and lined dry pit latrines in urban SSA, excluding South Africa